## Slide 1: Master Thesis Algorythm

## Slide 2: Struktur der Arbeit
Step 1:
Check module
Step 2:
Layout searching module
Ausnutzug:

## Slide 3: Calculational example

## Slide 4: Classes
Vertical Load
Fields: vertical load value
Methods: calling vertical load value
Wall
Fields: -position coordinates, orientation, physical parameters
Methods: - calculation and calling each of physical parameters of a wall
Grid
Fields: - numer of horizontal and vertical axes, spacing between the axes
Methods: - returning list of Points based on the axes dimensions
Point
Fields: - coordinates of the grid cross-sections
Methods: - returning of points coordinates
Building
Fields: - combined values of walls’ physical parameters
Methods: - Combining parameters of all walls

## Slide 5: Step 1: Main Program
Input data
New Building()
New Grid()
Grid > List of Points > Walls definition
Parameters for each wall (moments, stiffnesses)
Walls’ parameters > Shear Center of the system
Global parameters (warpingAreaMoment, sums of stiffnesses…)
Global buckling loads:
FvBB, FvBS…
Rotation criteria
Vertical load
Validation of translation and rotation criteria
Building()

## Slide 6: Analysis of design conditions - Translation
k1– constant parameters
L , ns – height of the building (permanent)
E – Young’s Modulus (permanent)
Ic – second moment of inertia – affects the result

## Slide 7: Analysis of design conditions - Rotation
K1 – constant parameters
L, ns, d – building’s parameters(permanent)
E, G – material’s parameters(permanent)
Iω – warping area moment - affects the result
IT – torsion area moment - affects the result
c – distance between geometrical centre and shear centre of a building - affects the result

## Slide 8: Decisive parameters
Ic – second moment of inertia (b*h3/12): few long walls > many short walls
Iω – warping moment of inertia – increases with the distance from shear center of the building to the center of a wall : walls distributed along perimeter, external walls
IT – torsional moment of inertia – for a wall-like element can be taken as : 0,323*b3*h – but increasing the thickness is not reasonable
c - distance between geometrical centre and shear centre of a building: symmetrical layout of walls

## Slide 9: Search for the solution
1 wall
Failure due to translation in perpendicular direction

## Slide 10: Search for the solution
2 walls -parallel
Failure due to translation in perpendicular direction

## Slide 11: Search for the solution
2 walls -perpendicular
Solution 1: Walls distributed along perimeter, Iω c
Solution 2: Walls located close to the buildings centre Iω c

## Slide 12: Search for the solution
3 walls
Solution 1: Walls distributed along perimeter, Iω c
Solution 2: Walls located close to the buildings centre Iω c

## Slide 13: Search for the solution
4 walls
One Solution: Walls distributed along perimeter, symmetrical distribution of walls Iω c

## Slide 14: Search for the solution
5 walls and more…
Increasing the numer of walls = increasing the length of 4 walls Iω c